## Instructions
The column title for this worksheet is in cell A2. The data spans cells A3 through A7. There is information in every cell for A3 through A7. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
INSTRUCTIONS AND BACKGROUND INFORMATION
1. The spreadsheet is made up of 7 tabs - 2 tabs for informational support; 5 tabs for boards to populate: Instructions - Information for boards UNIFORMAT Codes - Invformation for boards App A - Renewable Energy - board to populate App B - Design, Costruction, Retrofit - board to populate App C - Operations & Maintenance - board to populate App D - Occupant Behaviour - board to populate NOTE App E - Conservation Goals - board must enter Total Floor Area & Energy Consumption from latest FY (top left corner); all other data fields are automatically populated based on the data entered into Appendices A, B, C & D
2. Users should calculate the total investment across the board's asset porfolio for each row, on each tab NOTE * VFA Board Expenditure Report is useful in calculating many of these values
3. The equation for calculating the estimated energy savings is shown in the Word template, page 19
4. the following fields have been pre-populated for the sector, but can be changed by the user: * Quantity of Time the Measure will be in place (years) * Energy Payback Period * % related to electricity (automatically calculates % of natural gas) * unit cost of electricity and natural gas
5. Unit Costs * this template has been prepopulated with the provincial weighted average electricity and natural gas unit costs from the FY2022- Sector Energy Cost Analysis Report * boards can use another value if they choose Option # 1 - use your board's unit costs from the FY2022 Sector Energy Cost Analysis Report (found in the UCD at the MEC_EDU level, under the Document tab Option # 2 - use the Utility Cost Analysis Report (EDU 09) for FY2022 or FY2023 (Note: if using FY2023, you need to ensure all consumption data is updated in the UCD before generating or your values will be skewed) (found in the UCD, at your board portfolio level, under the Export tab) and manually enter the utility expenditures for each facility

## UNIFORMAT reference
The column titles for this worksheet are in rows 2 and 10. They span cells A2 through B2 and A10 through B10. The data spans cells A3 through B7 and A12 through B108. There is information in every cell for A3 through B7 and A12 through B108. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
UNIFORMAT NOTES
- some projects may be attributed to another UNIFORMAT code because of their main purpose
Examples
1. LED exterior signage upgrade project could be attributed to code G204005 - Site Development - Signage
2. replacement of rooftop HVAC device may have more tha one UNIFORMAT code due to multiple work areas D304007 - Distribution Systems - Exhaust Systems D304008 - Air Handling Units D306002 - Controls and Instrumentation - Electronic
List of UNIFORMAT codes and values used by Boards in expenditure reports in VFA
H.V.A.C.
D30 | HVAC
D3010 | Energy Supply
D301001 | Energy Supply System Oil
D301002 | Energy Supply System Natural Gas
D301005 | Energy Supply System Hot Water from Central Plant
D301006 | Energy Supply System Solar
D301007 | Energy Supply System Wind
D301010 | Energy Supply System Propane
D3012 | Gas Supply System
D3020 | Heat Generating Systems
D302001 | Heat Generating Steam Boilers
D302002 | Heat Generating Hot Water Boilers
D302003 | Heat Generating Furnaces
D302004 | Heat Generating Fuel Fired Unit Heaters
D302006 | Heat Generating Equipment Thermal Insulation
D302050 | Auxiliary Equipment Chemical
D302051 | Auxiliary Equipment Expansion Tanks
D302052 | Auxiliary Equipment Heat Exchanger
D302053 | Auxiliary Equipment Humidifiers
D302054 | Auxiliary Equipment HVAC Pumps
D302055 | Auxiliary Equipment Stacks & Breaching
D302056 | Auxiliary Equipment Variable Frequency Drives (VFD)
D302057 | Auxiliary Equipment Glycol
D302097 | Heat Generating MakeUp AHU
D302098 | Heat Generating Roof Top AHU Heat & Cool
D302099 | Heat Generating Other
D3030 | Cooling Generating Systems
D303011 | Chilled Water Systems Chillers
D303012 | Chilled Water Systems Cooling Towers
D303099 | Cooling Generating Systems Other
D3040 | Distribution Systems
D304001 | Distribution Systems Air Distribution, Heating & Cooling
D304002 | Distribution Systems Steam Distribution Systems
D304003 | Distribution Systems Heated Water Distribution Systems
D304005 | Distribution Systems Glycol Distribution Systems
D304006 | Distribution Systems Chilled Water Distribution Systems
D304007 | Distribution Systems Exhaust Systems
D304008 | Air Handling Units
D304009 | Distribution Systems Heat/Enthalpy Recovery Ventilation
D3050 | Terminal and Package Units
D305001 | Terminal and Package Units Unit Ventilators
D305002 | Terminal and Package Units Unit Heaters
D305003 | Terminal and Package Units Fan Coil Units
D305004 | Terminal and Package Units Fin Tube Radiation
D305006 | Terminal and Package Units Package Units
D305007 | Terminal and Package Units Heat Pumps
D305099 | Terminal and Package Units Other
D3060 | Controls and Instrumentation
D306002 | Controls and Instrumentation Electronic
D306003 | Controls and Instrumentation Pneumatic
D306004 | Building Automation System (F105002)
D3090 | Other HVAC Systems and Equipment
D309002 | Other HVAC Systems and Equipment Refrigeration Systems
D2020 | Domestic Water Distribution
D202001 | Domestic Water Distribution Pipes and Fittings
D202030 | Domestic Water Distribution Natural Gas DWH
D202031 | Domestic Water Distribution Electric DWH
D202032 | Domestic Water Distribution Instantaneous Hot Water Heaters
D202033 | Domestic Water Distribution Pumps
D202034 | Domestic Water Distribution Water Storage Tanks
D202035 | Domestic Water Distribution Water Treatment Systems
D202099 | Domestic Water Distribution Other Supply
D2023 | Domestic Water Supply Equipment
Controls
D50 | Electrical
D5010 | Electrical Service and Distribution
D501001 | Electrical Service and Distribution Main Transformer
D501002 | Electrical Service and Distribution Secondary Transformer
D501003 | Electrical Service and Distribution Main Switchboard
D501004 | Electrical Service and Distribution Interior Distribution Transformer
D501005 | Electrical Service and Distribution Panel
D501007 | Electrical Service and Distribution Motor Control Centre
D501099 | Electrical Service and Distribution Other
Lighting
D5020 | Lighting and Branch Wiring
D502001 | Lighting and Branch Wiring Branch Wiring
D502003 | Lighting and Branch Wiring Interior Lighting
D502004 | Lighting and Branch Wiring Exterior Lighting
D502005 | Lighting and Branch Wiring Exit Lighting and Signs
D502006 | Lighting and Branch Wiring Stage Lighting
D502007 | Lighting and Branch Wiring Emergency Lighting
D5021 | Branch Wiring Devices
D5022 | Lighting Equipment
Building Envelope
B30 | Roofing
B3010 | Roof Coverings
B3020 | Roof Openings
B302006 | Roof Openings Skylight
B3021 | Glazed Roof Openings
B3022 | Roof Hatches
B2010 | Exterior Walls
B2020 | Exterior Windows

## App A - Renewable Energy
Press TAB to move to input area. Press UP or DOWN ARROW in column A to read through the document. The column titles for this worksheet are in row 2 and 3. They span cells A2 through O3. The data spans cells A4 through O9. There is information in every cell for column A. Cells A3 through O3 have Sort options. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
Renewable Energy |  | Estimated number of systems installed | [5 empty] | Estimated total number of ekWh generated annually
Type of Renewable Energy | Define | Number of existing systems in asset portfolio (owned) | Fiscal Year 2023-2024 | Fiscal Year 2024-2025 | Fiscal Year 2025-2026 | Fiscal Year 2026-2027 | Fiscal Year 2027-2028 | Fiscal Year 2023 - 2024 | Fiscal Year 2024 - 2025 | Fiscal Year 2025 - 2026 | Fiscal Year 2026 - 2027 | Fiscal Year 2027 - 2028 | Total Size (kW) | Actual or Estimated Total Generation (ekWh)
Solar photovoltaic | [13 empty] | 0
Solar air | [13 empty] | 0
Solar water | [13 empty] | 0
Wind Turbine | [13 empty] | 0
Biomass | [13 empty] | 0
Other | [13 empty] | 0
End of worksheet.

## App B - Design Const Retrofit
Press TAB to move to input area. Press UP or DOWN ARROW in column A to read through the document. The column title for this worksheet is in cell A2. The column titles for this worksheet are in rows 3-4, 10-11, 29-30, 37-38 and 47-48. They span cells A3 through P4, A10 through P11, A29 through P30, A37 through P38, and A47 through M48. The data spans cells A5 through P8, A12 through P27, A31 through P35, A39 through P45, and A49 through M49. There is information in every data cell for column A and B. The following cells have Sort options: A4 through P4, A11 through P11, A30 through P30, A38 through P38, and A48 through M48. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
Design, Construction and Retrofit Strategies
|  | 2023-2024 |  | 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
Lighting | Quantity of Time that Measure will be in place (years) | Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Saving (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh) | Energy Payback Period | % related to Electricity | % related to Natural Gas
High Efficiency Lighting Systems (D5020, D502001, D502003, D502004) | 30 | 1000000 | 638162.0932 | 1000000 | 638162.0932 | 1000000 | 638162.0932 | 1000000 | 638162.0932 | 1000000 | 638162.0932 | 9572431.3976 | 10 | 100 | 0
Outdoor Lighting (D502004) | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 7 | 100 | 0
Occupancy Sensors (D5021, D5022) | 10 | 50000 | 31908.1047 | 50000 | 31908.1047 | 50000 | 31908.1047 | 50000 | 31908.1047 | 50000 | 31908.1047 | 478621.5699 | 10 | 100 | 0
Other (Describe) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 |  | 100
|  | 2023-2024 |  | 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
H.V.A.C. | Quantity of Time that Measure will be in place (years) | Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Savings from all projects (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh) | Energy Payback Period | % related to Electricity | % related to Natural Gas
Efficient Boilers (near condensing) (D3020, D302001, D302002) | 30 | 2700000 | 2988219.1122 | 2700000 | 2988219.1122 | 2700000 | 2988219.1122 | 2700000 | 2988219.1122 | 2700000 | 2988219.1122 | 44823286.6824 | 20 | 5 | 95
High-efficiency Boilers (condensing) (D3020, D302001, D302002) | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 5 | 95
High-efficiency Boiler Burners (D3020) | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 95
Geothermal (D302099 ) | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 100 | 0
Heat Recovery/Enthalpy Wheels (D3090) | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 20 | 80
Economizers (D306002) | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5 | 50 | 50
Energy Efficient HVAC systems (D3050,D3040) | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 50 | 50
Energy Efficient Rooftop Units (D302098) | 25 | 2400000 | 816294.0454 | 2400000 | 816294.0454 | 2400000 | 816294.0454 | 2400000 | 816294.0454 | 2400000 | 816294.0454 | 12244410.6816 | 30 | 50 | 50
High Efficiency Domestic Hot Water (D2020) | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 15 | 85
Efficient Chillers and Controls (D3030, D303011, D303012) | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 0
High-efficiency Motors (D304007, D303011) | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 100 | 0
VFD (D302056) | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 75 | 25
Demand Ventilation (D3040) | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 50 | 50
Entrance Heater Controls (D302099) | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 50 | 50
Destratification Fans (D3090) | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 100 | 0
Other (Describe) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 |  | 100
|  | 2023-2024 |  | 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
Controls | Quantity of Time that Measure will be in place | Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Savings from all projects (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh) | Energy Payback Period | % related to Electricity | % related to Natural Gas
Building Automation Systems - New (D3060) | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 50 | 50
Building Automation Systems - Upgrade (D3060) | 15 | 960000 | 326517.6182 | 960000 | 326517.6182 | 960000 | 326517.6182 | 960000 | 326517.6182 | 960000 | 326517.6182 | 4897764.2726 | 30 | 50 | 50
Real-time energy data for operators to identify and diagnose building issues | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 50 | 50
Voltage Harmonizers (D501001) | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 100 | 0
Other (Describe) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0.001 |  | 100
|  | 2023-2024 |  | 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
Building Envelope | Quantity of Time that Measure will be in place | Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Savings from all projects (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh) | Energy Payback Period | % related to Electricity | % related to Natural Gas
Glazing (B302006, B2020, B3021) | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 20 | 80
Increased Wall Insulation (B2010) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 20 | 80
New Roof (B3010, B3020) | 22 | 960000 | 76449.8718 | 960000 | 76449.8718 | 960000 | 76449.8718 | 960000 | 76449.8718 | 960000 | 76449.8718 | 1146748.0773 | 200 | 20 | 80
New Windows (B2020) | 32 | 890000 | 177188.505 | 890000 | 177188.505 | 890000 | 177188.505 | 890000 | 177188.505 | 890000 | 177188.505 | 2657827.575 | 80 | 20 | 80
Treatments | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 20 | 80
Shading Devices | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 100 | 0
Other (Describe) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 |  | 100
|  | 2023-2024 |  | 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
Design, Construction & Retrofit Strategies Total | Quantity of Time that Measure will be in place | Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Savings from all projects (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh)
Total |  | 8960000 | 5054739.3504 | 8960000 | 5054739.3504 | 8960000 | 5054739.3504 | 8960000 | 5054739.3504 | 8960000 | 5054739.3504 | 75821090.2564
Keys
| colour: yellow | = Default value
| colour: blue | = Calculated Value
| 0.1567 | = cost of 1 ekWh electricity
| 0.039308 | = cost of 1 ekWh natural gas
| 0.0955 | m³ = 1 ekWh (as per NRCan conversion table)
| 0.4116 | = cost of 1 m³ of natural gas
End of worksheet.

## App C -Operations & Maintenance
Press TAB to move to input area. Press UP or DOWN ARROW in column A to read through the document. The column title for this worksheet is in cell A2. The column titles for this worksheet are in rows 3-4, 15-16, 21-22, and 25. They span cells A3 through P4, A14 through P15, A21 through M22, and A24 through B25. The data spans cells A5 through P13, A17 through P19, A23 through M23, and A26 through B26. There is information in every data cell for column A and B. The following cells have Sort options: A4 through P4, A16 through P16, and A22 through P22. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
Operations and Maintenance Strategies
|  | 2023-2024 |  | 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
Policy and Planning | Quantity of Time that Measure will be in place (years) | Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Savings from all projects (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh) | Energy Payback Period | % related to Electricity | % related to Natural Gas
New School Design/Construction Guidelines and Specifications | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 50 | 50
Day and Night Temperature Guidelines for all Schools | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 20 | 80
Nighttime Blackout of Sites - Interior | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 100 | 0
Nighttime Blackout of Sites - Exterior | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 100 | 0
Procures Only Energy Star Certified Appliances | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 100 | 0
Demand Ventilation (servicing) (D3020,D3030, D3040) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 50 | 50
HVAC Optimization (coil cleaning, re-calibration of equipment) (D3020) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 50 | 50
Commissioning (retro and re) | 10 | 10000 | 10203.6756 | 10000 | 10203.6756 | 10000 | 10203.6756 | 10000 | 10203.6756 | 10000 | 10203.6756 | 153055.1335 | 10 | 50 | 50
Other (Describe) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 |  | 100
|  | 2023-2024 |  | 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
Energy Audits | Quantity of Time that Measure will be in place | Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Savings from all projects (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh) | Energy Payback Period | % related to Electricity | % related to Natural Gas
Walk Through Audit | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000 | 50 | 50
Engineering Audit | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000 | 50 | 50
Other (Describe) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 |  | 100
|  | 2023-2024 |  | 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
Operations and Maintenance Strategies Total | Quantity of Time that Measure will be in place | Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Savings from all projects (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh)
Total |  | 10000 | 10203.6756 | 10000 | 10203.6756 | 10000 | 10203.6756 | 10000 | 10203.6756 | 10000 | 10203.6756 | 153055.1335
Keys
0.1567 | = cost of 1 ekWh electricity
0.039308 | = cost of 1 ekWh natural gas
0.0955 | m³ = 1 ekWh
0.4116 | = cost of 1 m³ of natural gas
End of worksheet.

## App D - Occupant Behaviour
Press TAB to move to input area. Press UP or DOWN ARROW in column A to read through the document. The column title for this worksheet is in cell A2. The column titles for this worksheet are in rows 3-4 and 15. They span cells A3 through O4 and B15 through C15. The data spans cells A5 through O13 and B16 through C19. There is information in every cell for column A and B. The following cells have Sort options: A4 through O4. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
Occupant Behaviour Strategies
|  | 2023-2024 |  | 2019-2020 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
Training and Education | Quantity of Time that Measure will be in place (years) | Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Savings from all projects (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh) | Energy Payback Period | % related to Electricity | % related to Natural Gas
Building Operator Training | 3 | 15000 | 45560.9427 | 15000 | 45560.9427 | 15000 | 45560.9427 | 15000 | 45560.9427 | 15000 | 45560.9427 | 683414.1402 | 3 | 60 | 40
Energy Benchmarking Program | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000 | 50 | 50
Building Automation Training (site specific) | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 60 | 40
Ongoing Training and Awareness Programs for Energy Conservation | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 90 | 10
Detailed Information on Building Operational Costs | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000 | 50 | 50
Detailed Information on Energy Consumption (e.g. via the Utility Consumption Database or other database) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1000 | 50 | 50
Participate in Environmental Programs, such as EcoSchools, Earthcare | 1 | 2500 | 3449.2088 | 2500 | 3449.2088 | 2500 | 3449.2088 | 2500 | 3449.2088 | 2500 | 3449.2088 | 51738.1322 | 5 | 90 | 10
Other Tools (Define) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 |  | 100
Occupant Behaviour Strategies Total |  | 17500 | 49010.1515 | 17500 | 49010.1515 | 17500 | 49010.1515 | 17500 | 49010.1515 | 17500 | 49010.1515 | 735152.2724
Keys
| 0.1567 | = cost of 1 ekWh electricity
| 0.039308 | = cost of 1 ekWh natural gas
| 0.0955 | m³ = 1 ekWh
| 0.4116 | = cost of 1 m³ of natural gas
End of worksheet.

## App E - Conservation Goals
Press TAB to move to input area. Press UP or DOWN ARROW in column A to read through the document. The column title for this worksheet is in cell A2. The column titles for this worksheet are in rows 3, and 10-11. They span cells B3, B10 through L11. The data spans cells A4 through B6 and A12 through L18. There is information in every cell for column A. The following cells have Sort options: B11 through L11. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
Conservation Goal
FY 2018
Total Building Area (includes portables) (m²) | 707674.8 | Enter from UCD. - use square meters |  |  | 1 ft² = 0.0929 m²
Total Building Area (includes portables) (ft²) | 7617348.5 | Enter from UCD - use square feet
Energy Consumption for the board (ekWh) | 154988544 | Enter from UCD
| 2023-2024 |  | 2024-2025 |  | 2025-2026 |  | 2026-27 |  | 2027-2028 |  | 2023/24-2027/28
| Estimated Cost of Implementation | Estimated Annual Energy Savings from all projects (ekWh) | Estimated Cost of Implementation2 | Estimated Annual Energy Savings from all projects (ekWh)3 | Estimated Cost of Implementation4 | Estimated Annual Energy Savings from all projects (ekWh)5 | Estimated Cost of Implementation6 | Estimated Annual Energy Savings from all projects (ekWh)7 | Estimated Cost of Implementation8 | Estimated Annual Energy Savings from all projects (ekWh)9 | Estimated Total Accumulated Energy Savings (ekWh)
Appendix B: Design, Construction and Retrofit Strategies Total | 8960000 | 5054739.3504 | 8960000 | 5054739.3504 | 8960000 | 5054739.3504 | 8960000 | 5054739.3504 | 8960000 | 5054739.3504 | 75821090.2564
Appendix C: Operations and Maintenance Strategies Total | 10000 | 10203.6756 | 10000 | 10203.6756 | 10000 | 10203.6756 | 10000 | 10203.6756 | 10000 | 10203.6756 | 153055.1335
Appendix D: Occupant Behaviour Strategies Total | 17500 | 49010.1515 | 17500 | 49010.1515 | 17500 | 49010.1515 | 17500 | 49010.1515 | 17500 | 49010.1515 | 735152.2724
TOTAL | 8987500 | 5113953.1775 | 8987500 | 5113953.1775 | 8987500 | 5113953.1775 | 8987500 | 5113953.1775 | 8987500 | 5113953.1775 | 76709297.6623
Percentage reduction |  | 3.2996 |  | 3.2996 |  | 3.2996 |  | 3.2996 |  | 3.2996 | 16.4978
Conservation Goal (ekWh/m²) |  | 7.2264 |  | 7.2264 |  | 7.2264 |  | 7.2264 |  | 7.2264 | 36.1321
Conservation Goal (ekWh/ft²) |  | 0.67136 |  | 0.67136 |  | 0.67136 |  | 0.67136 |  | 0.67136 | 3.3568
| Note |  | Note |  | Note |  | Note |  | Note
| Check the total in cell B15 to confirm validity of estimated amount to be spent during that year |  | Check the total in cell D15 to confirm validity of estimated amount to be spent during that year |  | Check the total in cell F15 to confirm validity of estimated amount to be spent during that year |  | Check the total in cell H15 to confirm validity of estimated amount to be spent during that year |  | Check the total in cell J15 to confirm validity of estimated amount to be spent during that year
End of worksheet.

## Uniformat Notes
The column title for this worksheet is in cell A2. The data spans cells A3 through A6. There is information in every cell for column A. If you are not using a screen reader, you can press Alt + R, T for the Review Ribbon, Edit Comment to move to and open a Comment once you are on a cell with a Comment. When you are finished reading the Comment, press Escape to close the comment and return to the worksheet. If you are using the JAWS screen reader, press Ctrl + Shift + Apostrophe to get a list of Comments and their cell coordinates in the worksheet. Press Enter on the Comment you want to go to or Escape once you’ve read the Comment for a cell. You are returned to the workbook. Note that there is no keyboard command with JAWS to reread Comments or read Comments once you are on them in a cell. You must use the ability to list Comments in order to read them if you are using the JAWS screen reader.
Please note:
- some projects could be attributed to another UNIFORMAT code because of their main purpose
(LED exterior signage upgrade project could be attributed to code G204005 - Site Development - Signage)
- some projects like replacing rooftop HVAC device related to more than one UNIFORMAT code due to multiple work areas
(D304007 - Distribution Systems - Exhaust Systems, D304008 - Air Handling Units, D306002 - Controls and Instrumentation - Electronic .etc..)
Lighting
High Efficiency Lighting Systems
Outdoor Lighting
Occupancy Sensors
Other (Describe)
H.V.A.C.
Efficient Boilers (near condensing)
High-efficiency Boilers (condensing)
High-efficiency Boiler Burners
Geothermal
Heat Recovery/Enthalpy Wheels
Economizers
Energy Efficient HVAC systems
Energy Efficient Rooftop Units
High Efficiency Domestic Hot Water
Efficient Chillers and Controls
High-efficiency Motors
VFD
Demand Ventilation
Entrance Heater Controls
Destratification Fans
Other (Describe)
Controls
Building Automation Systems - New
Building Automation Systems - Upgrade
Real-time energy data for operators to identify and diagnose building issues
Voltage Harmonizers
Other (Describe)
Building Envelope
Glazing
Increased Wall Insulation
New Roof
New Windows
Treatments
Shading Devices
Other (Describe)